机构名称：上海启津测试技术有限公司

注册号：L5362

地  址：

A：上海市嘉定区北和公路183号9栋1层

获准认可能力索引

| 序号 | 地址 | 能力范围 | 评审类型 | 更新时间 |
| --- | --- | --- | --- | --- |
| 1 | A | 授权签字人(中文) | 复评+扩项 | 2015年01月06日 |
| 2 |  | 授权签字人(英文) | 复评+扩项 | 2015年01月06日 |
| 3 | A | 检测能力(中文) | 复评+扩项 | 2015年01月06日 |
| 4 |  | 检测能力(英文) | 复评+扩项 | 2015年01月06日 |

- Name：Shanghai Central Testing Technology Center Co., Ltd.

- Registration No.：L5362

ADDRESS：

- A: 1/F., Building 9, No.183, Beihe Road, Jiading District, Shanghai, China

- INDEX OF ACCREDITED SIGNATORIES

| No. | Address | Range | Type | Update date |
| --- | --- | --- | --- | --- |
| 1 | A | Approved signatories (Chinese) | Reassessment+Extending assessment | 2015-01-06 |
| 2 |  | Approved signatories (English) | Reassessment+Extending assessment | 2015-01-06 |
| 3 | A | Testing ability(Chinese) | Reassessment+Extending assessment | 2015-01-06 |
| 4 |  | Testing ability(English) | Reassessment+Extending assessment | 2015-01-06 |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L5362）

名称:上海启津测试技术有限公司

地址：上海市嘉定区北和公路183号9栋1层

签发日期：2015年01月06日        有效期至：2018年01月05日

更新日期：2015年01月06日

附件1 认可的授权签字人及领域

| 序号 | 姓 名 | 授权签字领域 | 备 注 |
| --- | --- | --- | --- |
| 1 | 孙 伟 | 橡胶、塑料、汽车零部件、漆膜、压敏胶粘带检测项目 |  |
| 2 | 刘德伟 | 汽车零部件、漆膜、压敏胶粘带检测项目 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L5362)

NAME:Shanghai Central Testing Technology Center Co., Ltd.

ADDRESS:1/F., Building 9, No.183, Beihe Road, Jiading District, Shanghai, China

Date of Issue:2015-01-06                      Date of Expiry:2018-01-05

- Date of Update：2015-01-06

APPENDIX 1   ACCREDITED SIGNATORIES AND SCOPE

| № | Name | Authorized Scope of Signature | Note |
| --- | --- | --- | --- |
| 1 | Sun Wei | Testing for Rubbers,Plastics,Automobile Parts,Paint Films,Pressure Sensitive Adhesive Tapes |  |
| 2 | Liu De Wei | Testing for Automobile Parts,Paint Films,Pressure Sensitive Adhesive Tapes |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L5362）

名称:上海启津测试技术有限公司

地址：上海市嘉定区北和公路183号9栋1层

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2015年01月06日         有效期至：2018年01月05日

更新日期：2015年01月06日

附件2  认可的检测能力范围

| 序号 | 检测 对象 | 项目/参数 |  | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | 橡胶 | 1.1 | 橡胶硬度 | 硫化橡胶或热塑性橡胶 压入硬度试验方法 第1部分：邵氏硬度计法（邵尔硬度） GB/T 531.1-2008 | 只测邵氏A和邵氏D |  |
|  |  |  |  | 硫化橡胶或热塑性橡胶 压痕硬度的测定 第1部分：硬度计法(邵尔硬度) ISO 7619-1:2010 | 只测邵氏A和邵氏D |  |
| 1 | 橡胶 | 1.1 | 橡胶硬度 | 用硬度计测定橡胶硬度的试验方法 ASTM D2240-05（2010） | 只测邵氏A和邵氏D |  |
|  |  |  |  | 硫化橡胶或热塑性橡胶 压入硬度的测定 第1部分：邵氏硬度计法(邵尔硬度) DIN ISO 7619-1:2012 | 只测邵氏A和邵氏D |  |
|  |  |  |  | 硫化橡胶或热塑性橡胶的硬度测定 第3部分：邵氏硬度计法 JIS K6253-3-2012 | 只测邵氏A和邵氏D |  |
|  |  | 1.2 | 压缩永久变形性能 | 硫化橡胶、热塑性橡胶 常温、高温和低温下压缩永久变形测定 GB/T 7759-1996 | 只测A型试样 |  |
|  |  |  |  | 硫化橡胶或热塑性橡胶 压缩永久变形的测定 第1部分：在环境温度或高温下 ISO 815-1:2014 | 只测A型试样 |  |
| 1 | 橡胶 | 1.2 | 压缩永久变形性能 | 硫化橡胶或热塑性橡胶 压缩永久变形的测定 第2部分：在低温下 ISO 815-2:2008 | 只测A型试样 |  |
|  |  |  |  | 橡胶压缩永久变形特性的标准试验方法 ASTM D 395-03（2008） | 只测1型试样 |  |
| 1 | 橡胶 | 1.3 | 耐液体性能 | 硫化橡胶或热塑性橡胶耐液体试验方法 GB/T 1690-2010 | 只测质量变化、体积变化、尺寸变化、表面积变化 |  |
|  |  |  |  | 硫化橡胶或热塑性橡胶耐液体试验方法 ISO 1817:2011 |  |  |
|  |  |  |  | 橡胶性能的标准测试方法-液体影响 ASTM D471-12a |  |  |
|  |  | 1.4 | 橡胶拉伸 性能 | 硫化橡胶或热塑性橡胶 拉伸应力应变性能的测定 GB/T 528-2009 |  |  |
|  |  |  |  | 硫化或热塑性橡胶 -拉伸应力-应变特性的测定 ISO 37:2011 |  |  |
|  |  |  |  | 硫化橡胶和热塑性弹性材料张力试验方法 ASTM D412-06（2013） | 只测Die C 只用方法A |  |
|  |  | 1.5 | 橡胶热空气老化 | 硫化橡胶或热塑性橡胶 热空气加速老化和耐热试验 GB/T 3512-2001 |  |  |
|  |  |  |  | 硫化橡胶或热塑性橡胶-加速老化和耐热试验 ISO 188：2011 | 只用方法B |  |
| 1 | 橡胶 | 1.6 | 橡胶撕裂 | 硫化橡胶或热塑性橡胶撕裂强度的测定（裤形、直角形和新月形试样） GB/T 529-2008 |  |  |
|  |  |  |  | 硫化橡胶或热塑性橡胶-撕裂强度的测定-第1部分：裤形，直角形和新月形试样 ISO 34-1：2010 |  |  |
|  |  |  |  | 通用硫化橡胶及热塑性弹性体撕裂强度试验方法 ASTM D624-2000(2012) | 只测Type B,Type C和Type T试样 |  |
| 2 | 塑料 | 2.1 | 密度 | 塑料 非泡沫塑料密度的测定 第1部分:浸渍法、液体比重瓶法和滴定法 GB/T 1033.1-2008 | 只用浸渍法 |  |
|  |  |  |  | 用位移法测定塑料密度和比重(相对密度)的标准试验方法 ASTM D792-13 | 只用浸渍法 |  |
|  |  |  |  | 塑料 非泡沫塑料密度的测定 第1部分:浸渍法、液体比重瓶法和滴定法 ISO 1183-1:2012 | 只用浸渍法 |  |
|  |  |  |  | 塑料 非泡沫塑料密度的测定 第1部分:浸渍法、液体比重瓶法和滴定法 EN ISO 1183-1:2012 | 只用浸渍法 |  |
| 2 | 塑料 | 2.1 | 密度 | 塑料 非泡沫塑料密度的测定 第1部分:浸渍法、液体比重瓶法和滴定法 BS EN ISO 1183-1:2012 | 只用浸渍法 |  |
|  |  |  |  | 塑料 非泡沫塑料密度的测定 第1部分:浸渍法、液体比重瓶法和滴定法 DIN EN ISO 1183-1:2013 | 只用浸渍法 |  |
|  |  |  | 相对密度 | 用位移法测定塑料密度和比重(相对密度)的标准试验方法 ASTM D 792-13 | 只用浸渍法 |  |
| 2 | 塑料 | 2.2 | 熔体流动 速率 | 热塑性塑料熔体质量流动速率和熔体体积流动速率的测定 GB/T 3682-2000 |  |  |
|  |  | 2.3 | 硬度 | 塑料和硬橡胶使用硬度计测定压痕硬度（邵氏硬度） GB/T 2411-2008 |  |  |
|  |  |  |  | 塑料和硬橡胶使用硬度计测定压痕硬度（邵氏硬度） ISO 868:2003 |  |  |
|  |  |  |  | 塑料和硬橡胶使用硬度计测定压痕硬度（邵氏硬度） EN ISO 868:2003 |  |  |
|  |  |  |  | 塑料和硬橡胶使用硬度计测定压痕硬度（邵氏硬度） BS EN ISO 868:2003 |  |  |
| 2 | 塑料 | 2.3 | 硬度 | 塑料和硬橡胶使用硬度计测定压痕硬度（邵氏硬度） DIN EN ISO 868:2003 |  |  |
|  |  | 2.4 | 吸水性 | 塑料 吸水性的测定 GB/T 1034-2008 |  |  |
|  |  |  |  | 塑料-吸水性的测定 ISO 62:2008 |  |  |
|  |  |  |  | 塑料-吸水性的测定 EN ISO 62:2008 |  |  |
|  |  |  |  | 塑料-吸水性的测定 BS EN ISO 62: 2008 |  |  |
|  |  |  |  | 塑料-吸水性的测定 DIN EN ISO 62:2008 |  |  |
|  |  |  |  | 塑料吸水性标准试验方法 ASTM D570-98(2010)ε1 |  |  |
| 2 | 塑料 | 2.5 | 雾度、透光率 | 透明塑料透光率和雾度的测定 GB/T 2410-2008 | 只用雾度计法 |  |
|  |  |  |  | 透明塑料透光率和雾度标准试验方法 ASTM D1003-13 |  |  |
|  |  | 2.6 | 磨损试验 | 塑料 滚动磨损试验方法 GB/T 5478-2008 |  |  |
|  |  | 2.7 | 耐擦伤试验 | 内饰材料的耐擦伤试验方法 SAE J365-2012 |  |  |
|  |  | 2.8 | 拉伸性能 | 塑料-拉伸性能的测定-第1部分：总则 ISO 527-1:2012 | 不测弹性模量和泊松比 |  |
| 2 | 塑料 | 2.8 | 拉伸性能 | 塑料 拉伸性能的测定 第1部分：总则 GB/T 1040.1-2006 | 不测弹性模量和泊松比 |  |
|  |  |  |  | 塑料-拉伸性能的测定-第2部分：模塑和挤塑料的试验条件 ISO 527-2:2012 | 不测弹性模量和泊松比 |  |
|  |  |  |  | 塑料 拉伸性能的测定 第2部分：模塑和挤塑料的试验条件 GB/T 1040.2-2006 | 不测弹性模量和泊松比 |  |
|  |  |  |  | 塑料-拉伸性能的测定-第3部分：薄膜和薄片的试验条件 ISO 527-3:1995/Cor.2:2001 | 只测2型、5型和1B型试样 |  |
|  |  |  |  | 塑料 拉伸性能的测定 第3部分：薄膜和薄片的试验条件 GB/T 1040.3-2006 | 只测2型、5型和1B型试样 |  |
|  |  |  |  | 塑料拉伸性能试验方法 ASTM D638-10 | 不测弹性模量，泊松比和管型试样 |  |
| 2 | 塑料 | 2.9 | 弯曲性能 | 塑料 弯曲性能的测定 GB/T 9341-2008 | 只测厚度＞3mm的试样 |  |
| 2 | 塑料 | 2.9 | 弯曲性能 | 塑料-弯曲性能的测定 ISO 178:2010 | 只测厚度＞3mm的试样 |  |
|  |  |  |  | 无增强、增强塑料和电绝缘材料弯曲性能的试验方法 ASTM D790-10 | 只测厚度＞3mm的试样 |  |
|  |  | 2.10 | 压缩性能 | 塑料 压缩性能的测定 GB/T 1041-2008 |  |  |
|  |  |  |  | 塑料-压缩性能的测定 ISO 604:2002 |  |  |
|  |  | 2.11 | 灰分 | 塑料 灰分的测定 第1部分：通用方法 GB/T 9345.1-2008 | 只用方法A |  |
|  |  |  |  | 塑料-灰分的测定-第1部分：通用方法 ISO 3451-1:2008 | 只用方法A |  |
| 3 | 汽车零部件 | 3.1 | 低温 | 电工电子产品环境试验 第2部分：试验方法 试验A：低温 GB/T 2423.1-2008 | 只用试验Ab、最低温度-70℃,试验箱尺寸 1m×1m×1m |  |
|  |  |  |  | 环境试验 第2-1部分：试验-试验A：低温 IEC 60068-2-1:2007 |  |  |
| 3 | 汽车零部件 | 3.2 | 高温 | 电工电子产品环境试验 第2部分：试验方法 试验B：高温 GB/T 2423.2-2008 | 只用试验Bb、温度范围室温+5℃~+300℃、 试验箱尺寸0.8m×0.6m×0.5m |  |
|  |  |  |  | 环境试验 第2-2部分：试验-试验B： 高温 IEC 60068-2-2:2007 |  |  |
| 3 | 汽车零部件 | 3.3 | 湿热(恒定) | 电工电子产品环境试验 第2部分 试验方法 试验Cab：恒定湿热试验 GB/T 2423.3-2006 | 只测温度范围： -70~+150℃、试验箱尺寸1m×1m×1m |  |
|  |  |  |  | 环境试验 第2-78部分：试验 试验Cab：恒定湿热状态 IEC 60068-2-78:2012 |  |  |
| 3 | 汽车零部件 | 3.4 | 湿热(交变) | 电工电子产品环境试验 第2部分：试验方法 试验Db： 交变湿热（12h＋12h循环） GB/T 2423.4-2008 | 只测温度范围： -70~+150℃、试验箱尺寸1m×1m×1m |  |
|  |  |  |  | 环境试验 第2部分：试验 试验Db：交变湿热(12+12小时循环) IEC 60068-2-30:2005 |  |  |
|  |  | 3.5 | 温湿度组合循环试验 | 电工电子产品环境试验 第2部分：试验方法 试验Z/AD：温度/湿度组合循环试验 GB/T 2423.34-2012 | 只测温度范围： -70~+150℃、试验箱尺寸1m×1m×1m |  |
|  |  |  |  | 环境试验 第2部分：试验 第38节：试验Z/AD：温度/湿度综合循环试验 IEC 60068-2-38:2009 |  |  |
| 3 | 汽车零部件 | 3.6 | 恒定湿热 （元件加速试验）试验 | 电工电子产品环境试验 第2部分： 试验方法 试验CY：恒定湿热主要用于元件的加速试验 GB/T 2423.50-2012 | 只测温度范围： -70~+150℃、试验箱尺寸1m×1m×1m |  |
|  |  |  |  | 环境试验 第2部分：试验 第67节：试验Cy：主要用于组成成分的湿热、稳定状态下的加速试验 IEC 60068-2-67:1995 |  |  |
| 3 | 汽车零部件 | 3.7 | 盐雾试验 | 电工电子产品环境试验 第2部分： 试验 试验Kb:盐雾：交变(氯化钠溶液) GB/T 2423.18-2012 |  |  |
|  |  |  |  | 环境试验 第2部分：试验.试验Kb：盐雾，循环(氯化钠溶液) IEC 60068-2-52:1996 |  |  |
|  |  |  |  | 色漆和清漆 耐中性盐雾性能的测定 GB/T 1771-2007 |  |  |
|  |  |  |  | 人造气氛腐蚀试验 盐雾试验 GB/T 10125-2012 |  |  |
| 3 | 汽车零部件 | 3.7 | 盐雾试验 | 电工电子产品环境试验 第2部分：试验方法 试验Ka：盐雾 GB/T 2423.17-2008 |  |  |
|  |  |  |  | 铜加速乙酸盐雾试验 (CASS试验)的标准试验方法 ASTM B368-09 |  |  |
|  |  |  |  | 人造环境中的腐蚀试验 盐雾试验 ISO 9227:2012 |  |  |
|  |  |  |  | 金属基体上金属和其他无机覆盖层 经腐蚀试验后的试样和试件的评级 GB/T 6461-2002 |  |  |
|  |  |  |  | 轻工产品金属镀层和化学处理层的耐腐蚀试验方法 乙酸盐雾试验(ASS)法 QB/T 3827-1999 |  |  |
|  |  | 3.8 | 氙灯老化 | 塑料实验室光源曝露试验方法 第2部分:氙弧灯 GB/T 16422.2-1999 |  |  |
|  |  |  |  | 塑料—实验室光源曝露试验方法第2部分:氙弧灯 ISO 4892-2:2013 |  |  |
| 3 | 汽车零部件 | 3.8 | 氙灯老化 | 汽车内饰材料氙弧灯加速暴露试验 SAE J2412-2004 |  |  |
|  |  |  |  | 汽车外饰材料氙弧灯加速暴露试验 SAE J2527-2004 |  |  |
| 3 | 汽车零部件 | 3.8 | 氙灯老化 | 非金属材料氙弧灯老化的仪器操作方法 ASTM G155-2013 |  |  |
|  |  |  |  | 非金属材料汽车内部空间里结构件光照射试验 PV1303:2001 |  |  |
|  |  |  |  | 室内用塑料氙弧光暴露试验方法 ASTM D4459-2012 |  |  |
|  |  | 3.9 | 紫外老化 | 塑料实验室光源暴露试验方法 第3部分:荧光紫外灯 GB/T 16422.3-1997 |  |  |
|  |  |  |  | 非金属材料UV老化的仪器操作方法 ASTM G154-2012a |  |  |
|  |  |  |  | 塑料.暴露于实验室光源的方法.第3部分:UV紫外光 ISO 4892-3:2013 |  |  |
|  |  |  |  | 汽车外饰材料UV快速老化测试 SAE J2020-2003 |  |  |
| 3 | 汽车零部件 | 3.10 | 振动(正弦) | 电工电子产品环境试验 第2部分: 试验方法 试验Fc: 振动(正弦) GB/T 2423.10-2008 | 只测 额定推力4000kgf，最大加速度（空载）垂直100g水平30g，频率范围垂直5-2500Hz水平5-1500Hz |  |
|  |  |  |  | 环境试验 第2-6部分：试验方法 试验Fc：振动(正弦) IEC 60068-2-6:2007 |  |  |
| 3 | 汽车零部件 | 3.11 | 振动(随机) | 电工电子产品环境试验 第2部分：试验方法 试验Fh：宽带随机振动（数字控制）和导则 GB/T2423.56-2006 | 只测 额定推力4000kgf，最大加速度（空载）垂直100g水平30g，频率范围垂直5-2500Hz水平5-1500Hz |  |
|  |  |  |  | 环境试验 第2-64部分：试验方法 试验Fh：宽带随机振动和导则 IEC 60068-2-64:2008 |  |  |
|  |  | 3.12 | 冲击试验 | 电工电子产品环境试验 第2部分:试验方法 试验Ea和导则:冲击 GB/T 2423.5-1995 | 只测峰值加速度≤50g,脉冲持续时间≤18ms的冲击试验 |  |
| 4 | 漆膜 | 4.1 | 铅笔 硬度 | 色漆和清漆 铅笔法测定漆膜硬度 GB/T 6739-2006 |  |  |
|  |  | 4.2 | 附着力 | 色漆和清漆 交叉切割试验 ISO 2409:2013 |  |  |
|  |  |  |  | 色漆和清漆 交叉切割试验 EN ISO 2409:2013 |  |  |
|  |  |  |  | 色漆和清漆 交叉切割试验 BS EN ISO 2409:2013 |  |  |
|  |  |  |  | 色漆和清漆 漆膜的划格试验 GB/T 9286-1998 |  |  |
|  |  |  |  | 胶带试验法 测定粘合性的标准试验方法 ASTM D3359-09ε2 |  |  |
|  |  | 4.3 | 耐弯曲性能 | 色漆和清漆 弯曲试验（圆柱轴） GB/T 6742-2007 |  |  |
|  |  | 4.4 | 耐冲击 | 漆膜耐冲击测定法 GB/T 1732-1993 |  |  |
|  |  |  |  | 有机涂层抗快速形变(冲击)作用的标准试验方法 ASTM D2794-93（2010） |  |  |
|  |  | 4.5 | 耐水性 | 漆膜耐水性测定法 GB/T 1733-93 | 只用浸水法 |  |
| 4 | 漆膜 | 4.6 | 耐热性 | 色漆和清漆 耐热性的测定 GB/T 1735-2009 |  |  |
| 4 | 漆膜 | 4.7 | 耐液体 | 色漆和清漆 耐液体介质的测定 GB 9274-88 |  |  |
|  |  | 4.8 | 耐湿热性 | 漆膜耐湿热测定法 GB/T 1740-2007 |  |  |
|  |  | 4.9 | 厚度 | 色漆和清漆 漆膜厚度的测定 GB/T 13452.2-2008 | 只用楔形切割法、诱导磁性测试仪法、涡流测试仪法 |  |
|  |  |  |  | 色漆和清漆 漆膜厚度的测定 ISO 2808:2007 | 只用楔形切割法、诱导磁性测试仪法、涡流测试仪法 |  |
|  |  |  |  | 色漆和清漆 漆膜厚度的测定 EN ISO 2808:2007 | 只用楔形切割法、诱导磁性测试仪法、涡流测试仪法 |  |
| 4 | 漆膜 | 4.9 | 厚度 | 色漆和清漆 漆膜厚度的测定 BS EN ISO 2808:2007 | 只用楔形切割法、诱导磁性测试仪法、涡流测试仪法 |  |
|  |  |  |  | 色漆和清漆 漆膜厚度的测定 DIN EN ISO 2808:2007 | 只用楔形切割法、诱导磁性测试仪法、涡流测试仪法 |  |
|  |  |  |  | 用横截面分割破坏法测定防护涂层系统干膜厚度的标准实施规程 ASTM D4138-07a(2013) | 只用凹槽切割法 |  |
|  |  |  |  | 应用于黑色金属的无磁涂层和应用于有色金属的无磁和不导电涂层的干膜厚度的无损测量的标准实施规程 ASTM D7091-13 |  |  |
| 4 | 漆膜 | 4.10 | 光泽 | 色漆和清漆 不含金属颜料的色漆漆膜的20°、60°和85°镜面光泽的测定 GB/T 9754-2007 | 不测液体色漆试样 |  |
| 4 | 漆膜 | 4.10 | 光泽 | 涂料和清漆 非金属漆膜镜面在20℃、60℃和85℃时光泽的测定 ISO 2813:1994/Cor 1:1997 | 不测液体色漆试样 |  |
|  |  |  |  | 涂料和清漆 非金属漆膜镜面在20℃、60℃和85℃时光泽的测定 EN ISO 2813:1999 | 不测液体色漆试样 |  |
|  |  |  |  | 涂料和清漆 非金属漆膜镜面在20℃、60℃和85℃时光泽的测定 DIN EN ISO 2813:1999 | 不测液体色漆试样 |  |
|  |  | 4.11 | 耐磨性 | 色漆和清漆 耐磨性的测定 旋转橡胶砂轮法 GB/T 1768-2006 |  |  |
|  |  |  |  | 色漆和清漆 耐磨性的测定第2部分：旋转摩擦橡胶轮法 ISO 7784-2:1997 |  |  |
|  |  |  |  | 泰伯尔磨蚀机法测定有机涂层耐磨性试验方法 ASTM D4060-10 |  |  |
| 5 | 压敏胶粘带 | 5.1 | 持粘性 | 压敏胶粘带持粘性试验方法 GB/T 4851-1998 |  |  |
|  |  | 5.2 | 初粘性 | 压敏胶粘带初粘性试验方法（滚球法） GB/T 4852-2002 | 只用斜面滚球法 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L5362)

NAME:Shanghai Central Testing Technology Center Co., Ltd.

ADDRESS:1/F., Building 9, No.183, Beihe Road, Jiading District, Shanghai, China

Accreditation Criteria:ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2015-01-06                      Date of Expiry:2018-01-05

- Date of Update：2015-01-06

APPENDIX 2  ACCREDITED TESTING

| № | Test Object | Item/Parameter |  | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | Rubbers | 1.1 | Rubbers hardness | Rubber, vulcanized or thermoplastic - Determination of indentation hardness - Part 1：Duromerer method （Shore hardness） GB/T 531.1-2008 | Accredited only for Shore A and Shore D |  |
| 1 | Rubbers | 1.1 | Rubbers hardness | Rubber, vulcanized or thermoplastic -Determination of indentation hardness - Part 1: Durometer method (Shore hardness) ISO 7619-1:2010 | Accredited only for Shore A and Shore D |  |
|  |  |  |  | Standard Test Method for Rubber Property—Durometer Hardness ASTM D2240-05（2010） | Accredited only for Shore A and Shore D |  |
|  |  |  |  | Rubber, vulcanized or thermoplastic. Determination of indentation hardness. Part 1: Durometer method (Shore hardness) DIN ISO 7619-1:2012 | Accredited only for Shore A and Shore D |  |
|  |  |  |  | Rubber, vulcanized or thermoplastic. Determination of hardness. Part 3:Durometer method JIS K6253-3-2012 | Accredited only for Shore A and Shore D |  |
| 1 | Rubbers | 1.2 | Compression Set | Rubber, Vulcanized or thermoplastic-Determination of compression set at ambient elevated or low temperatures GB/T 7759-1996 | Accredited only for type A |  |
|  |  |  |  | Rubber, vulcanized or thermoplastic - Determination of compression set - Part 1: At ambient or elevated temperatures ISO 815-1:2014 | Accredited only for type A |  |
|  |  |  |  | Rubber, vulcanized or thermoplastic - Determination of compression set - Part 2: At low temperatures ISO 815-2:2008 | Accredited only for type A |  |
|  |  |  |  | Standard Test Methods for Rubber Property—Compression Set ASTM D395-03（2008） | Accredited only for type 1 |  |
| 1 | Rubbers | 1.3 | Effect of liquids | Rubber, vulcanized or thermoplastic - Determination of the effect of liquids GB/T 1690-2010 | Accredited only for Alter in mass，Alter in volume，Alter in dimensions and Alter in surface area |  |
|  |  |  |  | Rubber, vulcanized or thermoplastic - Determination of the effect of liquids ISO 1817:2011 |  |  |
|  |  |  |  | Standard Test Method for Rubber Property—Effect of Liquids ASTM D471-12a |  |  |
| 1 | Rubbers | 1.4 | Tensile properties | Rubber, vulcanized or thermoplastic-determination of tensile stress-strain properties GB/T 528-2009 |  |  |
|  |  |  |  | Rubber, vulcanized or thermoplastic-determination of tensile stress-strain properties ISO 37:2011 |  |  |
| 1 | Rubbers | 1.4 | Tensile properties | Standard test method for vulcanized rubber and thermoplastics elastomers ASTM D412-06（2013） | Accredited only for Die C and Method A |  |
|  |  | 1.5 | Accelerated ageing and heat-resistance | Rubber, vulcanized or thermoplastic - Accelerated ageing and heat-resistance tests—Air-oven method GB/T 3512-2001 |  |  |
|  |  |  |  | Rubber, vulcanized or thermoplastic Accelerated ageing and heat-resistance tests ISO 188：2011 | Accredited only for Method B |  |
|  |  | 1.6 | Tear strength | Rubber, vulcanized or thermoplastic-determination of tear strength (Trouser, angle and crescent test pieces) GB/T 529-2008 |  |  |
| 1 | Rubbers | 1.6 | Tear strength | Rubber, vulcanized or thermoplastic; determination of tear strength; part 1: trouser, angle and crescent test pieces ISO 34-1：2010 |  |  |
|  |  |  |  | Standard test method for tear strength of conventional vulcanized rubber and thermoplastics elastomers ASTM D624-2000(2012) | Accredited only for Type B,Type C and Type T |  |
| 2 | Plastics | 2.1 | Density | Plastics--Methods for determining the density of non-cellular plastics--Part 1: Immersion method,liquid pyknometer method and titration method GB/T 1033.1-2008 | Accredited only for Immersion method |  |
|  |  |  |  | Standard Test Methods for Density and Specific Gravity (Relative Density) of Plastics by Displacement ASTM D792-13 | Accredited only for Immersion method |  |
| 2 | Plastics | 2.1 | Density | Plastics - Methods for determining the density of non-cellular plastics - Part 1: Immersion method, liquid pyknometer method and titration method ISO 1183-1:2012 | Accredited only for Immersion method |  |
|  |  |  |  | Plastics - Methods for determining the density of non-cellular plastics - Part 1: Immersion method, liquid pyknometer method and titration method EN ISO 1183-1:2012 | Accredited only for Immersion method |  |
|  |  |  |  | Plastics - Methods for determining the density of non-cellular plastics - Part 1: Immersion method, liquid pyknometer method and titration method BS EN ISO 1183-1:2012 | Accredited only for Immersion method |  |
| 2 | Plastics | 2.1 | Density | Plastics - Methods for determining the density of non-cellular plastics - Part 1: Immersion method, liquid pyknometer method and titration method DIN EN ISO 1183-1:2013 | Accredited only for Immersion method |  |
| 2 | Plastics | 2.1 | Relative Density | Standard Test Methods for Density and Specific Gravity (Relative Density) of Plastics by Displacement ASTM D792-13 | Accredited only for Immersion method |  |
|  |  | 2.2 | Flow rate（MFR）and the melt volume-flow rate（MVR） | Determination of the melt mass-flow rate（MFR）and the melt volume-flow rate（MVR）of thermoplastics GB/T 3682-2000 |  |  |
|  |  | 2.3 | Plastics hardness | Plastics and ebonite-Determination of indentation hardness by means of a durometer(shore hardness) GB/T 2411-2008 |  |  |
| 2 | Plastics | 2.3 | Plastics hardness | Plastics and ebonite-Determination of indentation hardness by means of a durometer(shore hardness) ISO 868:2003 |  |  |
|  |  |  |  | Plastics and ebonite-Determination of indentation hardness by means of a durometer(shore hardness) EN ISO 868:2003 |  |  |
|  |  |  |  | Plastics and ebonite-Determination of indentation hardness by means of a durometer(Shore hardness) BS EN ISO 868:2003 |  |  |
|  |  |  |  | Plastics and ebonite-Determination of indentation hardness by means of a durometer(shore hardness) DIN EN ISO 868:2003 |  |  |
| 2 | Plastics | 2.4 | Water absorption | Plastics-Determination of water absorption GB/T 1034-2008 |  |  |
|  |  |  |  | Plastics-Determination of water absorption ISO 62:2008 |  |  |
|  |  |  |  | Plastics-Determination of water absorption EN ISO 62:2008 |  |  |
|  |  |  |  | Plastics-Determination of water absorption BS EN ISO 62: 2008 |  |  |
|  |  |  |  | Plastics-Determination of water absorption DIN EN ISO 62:2008 |  |  |
|  |  |  |  | Standard Test Method for Water Absorption of Plastics1 ASTM D 570-98(2010)ε1 |  |  |
| 2 | Plastics | 2.5 | Haze, Luminous Transmittance | Determination of the luminous transmittance and haze of transparent plastics GB/T 2410-2008 | Accredited only for Hazemeter |  |
|  |  |  |  | Standard Test Method for Haze and Luminous Transmittance of Transparent Plastics1 ASTM D1003-13 |  |  |
|  |  | 2.6 | Resistance to wear | Plastics-Test method for wear by rolling GB/T 5478-2008 |  |  |
| 2 | Plastics | 2.7 | Resistance to Scuffing | Method of Testing Resistance to Scuffing of Trim Materials SAE J365-2012 |  |  |
|  |  | 2.8 | Tensile properties | Plastics-Determination of tensile properties –Part 1: General principles ISO 527-1:2012 | Except for modulus and poisson’s ratio |  |
|  |  |  |  | Plastics-Determination of tensile properties –Part 1: General principles GB/T 1040.1-2006 | Except for modulus and poisson’s ratio |  |
|  |  |  |  | Plastics-- Determination of tensile properties -- Part 2: Test conditions for moulding and extrusion plastics ISO 527-2:2012 | Except for modulus and poisson’s ratio |  |
| 2 | Plastics | 2.8 | Tensile properties | Plastics-- Determination of tensile properties -- Part 2: Test conditions for moulding and extrusion plastics GB/T 1040.2-2006 | Except for modulus and poisson’s ratio |  |
|  |  |  |  | Plastics-Determination of tensile properties-Part 3: Test conditions for films and sheets ISO 527-3:1995/Cor.2:2001 | Accredited only for Type 2, Type 5 and Type 1B |  |
|  |  |  |  | Plastics-Determination of tensile properties-Part 3: Test conditions for films and sheets GB/T 1040.3-2006 | Accredited only for Type 2, Type 5 and Type 1B |  |
|  |  |  |  | Standard test method for tensile properties of plastics ASTM D638-10 | Except for modulus, poisson’s ratio and tube specimens |  |
| 2 | Plastics | 2.9 | Flexural properties | Plastics-Determination of flexural properties GB/T 9341-2008 | Accredited only for thickness >3mm |  |
| 2 | Plastics | 2.9 | Flexural properties | Plastics-Determination of flexural properties ISO 178:2010 | Accredited only for thickness >3mm |  |
|  |  |  |  | Standard test methods for flexural properties of unreinforced and reinforced plastics and electrical insulating materials ASTM D790-10 | Accredited only for thickness >3mm |  |
|  |  | 2.10 | Compressive properties | Determination of compressive properties GB/T 1041-2008 |  |  |
|  |  |  |  | Plastics – Determination of compressive properties ISO 604:2002 |  |  |
|  |  | 2.11 | Ash | Plastics-Determination of ash-Part 1: General methods GB/T 9345.1-2008 | Accredited only for method A |  |
|  |  |  |  | Plastics-Determination of ash-Part 1: General methods ISO 3451-1：2008 | Accredited only for method A |  |
| 3 | Automobile parts | 3.1 | Cold | Environmental testing for electric and electronic products—Part 2:Test methods—Tests A:Cold GB/T 2423.1-2008 | Accredited only for Test Ab, minimum temperature -70℃, Test chamber size 1m×1m×1m |  |
|  |  |  |  | Environmental testing - Part 2-1: Tests - Test A: Cold IEC 60068-2-1:2007 |  |  |
| 3 | Automobile parts | 3.2 | Dry heat | Environmental testing - Part 2: Test methods - Tests B: Dry heat GB/T 2423.2-2008 | Accredited only for Test Bb, Maximum temperature: 300℃, Test chamber size 0.8m×0.6m×0.5m |  |
|  |  |  |  | Environmental testing - Part 2-2: Tests - Test B: Dry heat IEC 60068-2-2:2007 |  |  |
| 3 | Automobile parts | 3.3 | Damp heat（steady state） | Environmental testing for electric and electronic products—Part 2:Testing method—Test Cab:Damp heat,steady state GB/T 2423.3-2006 | Accredited only for temperature range -70℃~150℃,Test chamber size 1m×1m×1m |  |
|  |  |  |  | Environmental testing - Part 2-78: Tests; Test Cab: Damp heat, steady state IEC 60068-2-78:2012 |  |  |
|  |  | 3.4 | Damp heat（cyclic） | Environmental testing for electric and electronic products - Part 2: Test method - Test Db: Damp heat，cyclic ( 12h+12h cycle) GB/T 2423.4-2008 | Accredited only for temperature range -70℃~150℃,Test chamber size 1m×1m×1m |  |
|  |  |  |  | Environmental testing Part 2-30: Tests Test Db: Damp heat, cyclic (12 h + 12 h cycle) IEC 60068-2-30:2005 |  |  |
| 3 | Automobile parts | 3.5 | Composite Temperature/Humidity Cyclic Test | Environmental testing for electric and electronic products--Part 2:Test methods--Test Z/AD:Composite temperature/humidity cyclic test GB/T 2423.34-2012 | Accredited only for temperature range -70℃~150℃,Test chamber size 1m×1m×1m |  |
|  |  |  |  | Environmental testing - Part 2-38: Tests - Test Z/AD: Composite temperature/humidity cyclic test IEC 60068-2-38:2009 |  |  |
| 3 | Automobile parts | 3.6 | Damp Heat, Steady State for Components | Environmental testing for electric and electronic products Part 2: Tests--Test Cy:Damp heat,steady state,accelerated test primarily intended GB/T 2423.50-2012 | Accredited only for temperature range -70℃~150℃,Test chamber size 1m×1m×1m |  |
| 3 | Automobile parts | 3.6 | Damp Heat, Steady State for Components | Environmental testing - Part 2: Tests - Test Cy: Damp heat, steady state, accelerated test primarily intended for components IEC 60068-2-67:1995 | Accredited only for temperature range -70℃~150℃,Test chamber size 1m×1m×1m |  |
|  |  | 3.7 | Salt mist | Environmental testing-Part 2: Tests-Test Kb:Salt mist,cyclic(sodium chloride solution) GB/T 2423.18-2012 |  |  |
|  |  |  |  | Environmental testing - Part 2: Tests - Test Kb: Salt mist, cyclic (sodium chloride solution) IEC 60068-2-52:1996 |  |  |
|  |  |  |  | Paints and varnishes—Determination of resistance to neutral salt spray(fog) GB/T 1771-2007 |  |  |
|  |  |  |  | Corrosion tests in artificial atmospheres--Salt spray tests GB/T 10125-2012 |  |  |
| 3 | Automobile parts | 3.7 | Salt mist | Envrionmental testing for electric and electronic products - Part 2: Test method - Test Ka: Salt mist GB/T 2423.17-2008 |  |  |
| 3 | Automobile parts | 3.7 | Salt mist | Standard Test Method for Copper-Accelerated Acetic Acid-Salt Spray (Fog) Testing (CASS Test) ASTM B368 - 09 |  |  |
|  |  |  |  | Corrosion tests in artificial atmospheres - Salt spray tests ISO 9227:2012 |  |  |
|  |  |  |  | Methods for corrosion testing of metallic and other inorganic coatings on metallic substrates--Rating of test specimens and manufactured articles subjected to corrosion tests GB/T 6461-2002 |  |  |
| 3 | Automobile parts | 3.7 | Salt mist | Corrosion-resistant testing method of the metal deposits and conversion coatings for the light industrial products Acetic salt spraying test(ASS) QB/T 3827-1999 |  |  |
|  |  | 3.8 | Xenon-Arc exposure | Plastics - Methods of exposure to laboratory light sources - Part 2: Xenon-arc sources GB/T 16422.2-1999 |  |  |
|  |  |  |  | Plastics - Methods of exposure to laboratory light sources - Part 2: Xenon-arc lamps ISO 4892-2:2013 |  |  |
|  |  |  |  | Accelerated Exposure of Automotive Interior Trim Components Using a Controlled Irradiance Xenon-Arc Apparatus SAE J2412-2004 |  |  |
| 3 | Automobile parts | 3.8 | Xenon-Arc exposure | Performance Based Standard for Accelerated Exposure of Automotive Exterior Materials Using a Controlled Irradiance Xenon Arc Apparatus SAE J2527-2004 |  |  |
|  |  |  |  | Standard Practice for Operating Xenon Arc Light Apparatus for Exposure of Non-Metallic Materials ASTM G155-2013 |  |  |
|  |  |  |  | Non-Metallic Materials Exposure Test of Passenger Compartment Components PV1303:2001 |  |  |
|  |  |  |  | Standard Practice for Xenon-Arc Exposure of Plastics Intended for Indoor Applications ASTM D4459-2012 |  |  |
| 3 | Automobile parts | 3.9 | UV Exposure | Plastics - Methods of exposure to laboratory light sources - Part 3: Fluorescent UV lamps GB/T 16422.3-1997 |  |  |
|  |  |  |  | Standard Practice for Operating Fluorescent Light Apparatus for UV Exposure of Nonmetallic Materials ASTM G154-2012a |  |  |
|  |  |  |  | Plastics - Methods of exposure to laboratory light sources - Part 3: Fluorescent UV lamps ISO 4892-3:2013 |  |  |
|  |  |  |  | Accelerated Exposure of Automotive Exterior Materials Using a Fluorescent UV and Condensation Apparatus SAE J2020-2003 |  |  |
| 3 | Automobile parts | 3.10 | Vibration (sinusoidal) | Environmental testing for electric and electronic products - Part 2: Tests methods - Test Fc: Vibration (sinusoidal) GB/T 2423.10-2008 | Accredited only for： Rated thrust 4000kgf，max acceleration（no load）vertical 100g horizontal 30g，frequency range vertical 5-2500Hz horizontal 5-1500Hz |  |
|  |  |  |  | Environmental testing Part 2-6: Tests Test Fc: Vibration (sinusoidal) IEC 60068-2-6:2007 |  |  |
| 3 | Automobile parts | 3.11 | Vibration (random) | Environmental testing for electric and electronic products--Part 2:Test methods- Test Fh: Vibration, broadband random (digital control)and guidance GB/T2423.56-2006 | Accredited only for: Rated thrust 4000kgf，max acceleration（no load）vertical 100g horizontal 30g，frequency range vertical 5-2500Hz horizontal 5-1500Hz |  |
|  |  |  |  | Environmental testing – Part 2-64: Tests – Test Fh: Vibration, broadband random and guidance IEC 60068-2-64:2008 |  |  |
|  |  | 3.12 | Shock | Environmental testing for Electric and electronic products Part 2：Test methods Test Ea and Guidance: Shock GB/T 2423.5-1995 | Accredited only for: Shock test with acceleration≤50g, half sine wave pluse bandwidth≤18ms. |  |
| 4 | Paint films | 4.1 | Pencil hardness | Paints and varnishes—Determination of film hardness by pencil test GB/T 6739-2006 |  |  |
|  |  | 4.2 | Adhesion | Paints and varnishes - Cross-cut test ISO 2409:2013 |  |  |
|  |  |  |  | Paints and varnishes - Cross-cut test EN ISO 2409:2013 |  |  |
| 4 | Paint films | 4.2 | Adhesion | Paints and varnishes - Cross-cut test BS EN ISO 2409:2013 |  |  |
|  |  |  |  | Paints and varnishes - Cross cut test for films GB/T 9286-1998 |  |  |
|  |  |  |  | Standard Test Methods for Measuring Adhesion by Tape Test ASTM D3359-09ε2 |  |  |
|  |  | 4.3 | Bend test | Paints and varnishes-Bend test (cylindrical mandrel) GB/T 6742-2007 |  |  |
| 4 | Paint films | 4.4 | Impact resistance | Determination of impact resistance of film GB/T 1732-93 |  |  |
|  |  |  |  | Standard Test Method for Resistance of Organic Coatings to the Effects of Rapid Deformation (Impact) ASTM D2794-93（2010） |  |  |
|  |  | 4.5 | Water resistance | Determination of resistance to water of films GB/T 1733-1993 | Accredited only for Immersion method |  |
|  |  | 4.6 | Thermal resistance | Paints and varnishes-Determination of heat resistance GB/T 1735-2009 |  |  |
|  |  | 4.7 | Resistance to liquids | Paints and varnishes-Determination of resistance to liquids GB 9274-88 |  |  |
| 4 | Paint films | 4.8 | Heat and humidity | Determination of resistance to heat and humidity of paint films GB/T 1740-2007 |  |  |
| 4 | Paint films | 4.9 | Film thickness | Paints and varnishes – Determination of film thickness GB/T 13452.2-2008 | Accredited only for Wedge cut，Magnetic-induction gauge and Eddy-current gauge |  |
|  |  |  |  | Paints and varnishes – Determination of film thickness ISO 2808:2007 | Accredited only for Wedge cut，Magnetic-induction gauge and Eddy-current gauge |  |
|  |  |  |  | Paints and varnishes – Determination of film thickness EN ISO 2808:2007 |  |  |
|  |  |  |  | Paints and varnishes – Determination of film thickness BS EN ISO 2808:2007 |  |  |
|  |  |  |  | Paints and varnishes – Determination of film thickness DIN EN ISO 2808:2007 |  |  |
| 4 | Paint films | 4.9 | Film thickness | Standard Practices for Measurement of Dry Film Thickness of Protective Coating Systems by Destructive, Cross-Sectioning Means1 ASTM D4138-07a(2013) | Accredited only for Groove cutting method |  |
|  |  |  |  | Standard Practice for Nondestructive Measurement of Dry Film Thickness of Nonmagnetic Coatings Applied to Ferrous Metals and Nonmagnetic, Nonconductive Coatings Applied to Non-Ferrous Metals ASTM D7091-13 |  |  |
| 4 | Paint films | 4.10 | Specular gloss | Paints and varnishes-Determination of specular gloss of non-metallic paint films at 20°, 60°and 85° GB/T 9754-2007 | Except for liqiud paints sample |  |
| 4 | Paint films | 4.10 | Specular gloss | Paints and varnishes -- Determination of specular gloss of non-metallic paint films at 20°, 60°and 85° ISO 2813:1994/Cor 1:1997 | Except for liqiud paints sample |  |
|  |  |  |  | Paints and varnishes -- Determination of specular gloss of non-metallic paint films at 20°, 60°and 85° EN ISO 2813:1999 | Except for liqiud paints sample |  |
|  |  |  |  | Paints and varnishes -- Determination of specular gloss of non-metallic paint films at 20°, 60°and 85° DIN EN ISO 2813:1999 | Except for liqiud paints sample |  |
|  |  | 4.11 | Resistance to abrasion | Paints and varnishes—Determination of resistance to abrasion—Rotating abrasive rubber wheel method GB/T 1768-2006 |  |  |
| 4 | Paint films | 4.11 | Resistance to abrasion | Paints and varnishes -Determination of resistance to abrasion - Part 2: Rotating abrasive rubber wheel method ISO 7784-2:1997 |  |  |
|  |  |  |  | Standard Test Method for Abrasion Resistance of Organic Coatings by the Taber Abraser ASTM D4060-10 |  |  |
| 5 | Pressure sensitive adhesive tapes | 5.1 | Holding power | Test method for holding power of pressure sensitive adhesive tapes GB/T 4851-1998 |  |  |
|  |  | 5.2 | Tack | Test method for tack of pressure sensitive adhesive tapese by rolling ball GB/T 4852-2002 | Accredited only for Cant ball method |  |